Project  (300 points) – Rev 0

Note: Dates are for Fall 2023

You have been given the design documentation for the control system for a demonstration process control system.  The class will be broken up into 26 teams. The teams are:

Rail Wet Ingredient Unload – [specify processor]

2 people  –

Truck Wet Ingredient Unload – [specify processor]

2 people –

Dry Add – [specify processor]

1 person –

Wet Add – [specify processor]

1 person –

Blend Unit – [specify processor]

2 people –

Reactor 1 Unit – [specify processor]

3 people –

Ion Exchanger 1 – [specify processor]

2 people –

Ion Exchanger 2 – [specify processor]

2 people –

Storage Tank 1 & Loadout 1 – [specify processor]

2 persons –

CIP 1 System – [specify processor])

3 people  –

Rail Dry Ingredient Unload – [specify processor]

2 people () – will have stub for testing purposes

Truck Dry Ingredient Unload – [specify processor]

2 people () – will have stub for testing purposes

Dry Ingredient Store In & Out – [specify processor]

2 people (Wed) –

Reactor 2 Unit –

2 people (Wed) –

Rail Powder Ingred Unload – [specify processor]

2 people –

Truck Powder Ingred Unload – [specify processor]

2 people  –

Reactor 3 Unit – [specify processor]

3 people  –

Ion Exchanger 3 – [specify processor]

2 people  –

Ion Exchanger 4 – [specify processor]

2 people –

Storage Tank 2 & Loadout 2 – [specify processor]

2 persons –

Reactor 4 Unit – [specify processor]

2 people –

Ion Exchanger 5 – [specify processor]

2 people  –

Ion Exchanger 6 – [specify processor]

2 persons –

Storage Tank 3 – [specify processor])

1 person  –

CIP 2 System – [specify processor]

2 people  –

QA Sampling– [specify processor])

2 people –

Soda Ash – [specify processor]

Instructor

May need to add other "stub" units

Each team will be programming a separate ControlLogix or CompactLogix processor and simulating the I/O.  All processors are revision 34 processors. List above has abbreviated processor model number. Full numbers are:

L71 – 1756-L71	1769-L16ER – 1769-L16ER-BB1B

L81E – 1756-L81E	1769-L18ER – 1769-L18ER-BB1B

You are also given a Sequence Diagram guideline and a ControlLogix core code guideline.

The project will proceed in the following general steps:

Generate sequence diagrams (function charts)

Formulate standard tag naming conventions (already done)

Generate standard code segments, to be encapsulated as libraries (already done)

Define information to be passed between processors

Define interface to FT View ME (how to specify a sequence start, valve/motor/etc. wizards)

Code sequences

Code FT View screens

Test programs individually and with the entire class.

The next 7 weeks (from now until October 17) in lab will be devoted to this project.  You are expected to show up in lab to perform your parts of the project.  Also, it will be assumed that you will be spending time outside of the lecture and lab time working in your part of the project.  Initially, the lectures will be devoted to formulating the standard code segments, and so on. Later, the lecture material will move onto other topics, but some interproject issues (for example, information being passed between processors) will be resolved during lecture time.

Note that missing a deadline or not providing the expected items may mean 0 (zero) points for the team for that week. The items do not have to be totally correct (until testing time), but need to be present. Also, if the instructor/TA flags an item for correction, it is expected to be corrected on the next revision. Points will be deducted for not attempting a correction.

Project Schedule:

Wk 1: First revision of sequence diagrams (function charts)

25 points

Due: 9/7 (M Sec); 9/9 (TW Sec); 9/10 (Th Sec) 4:30 pm

Deliverables:

Diagrams for 4 sequences: hold, shutdown, e-shutdown, and one other. For RWet_Unl, TWet_Unl, Dry_Add, Wet_Add, RDry_Unl, TDry_Unl, Dry_StoIn, RPow_Unl, TPow_Unl, Stor_Tnk_1, Stor_Tnk_2, Stor_Tnk_3, the major sequence must be a transfer that involves operator interaction.

Wk 2: Second revision of sequences and import AOI code libraries

50 points

Due: 9/14 (M Sec); 9/16 (TW Sec); 9/17 (Th Sec) 4:30 pm

Deliverables:

Sequences – fix items from first review; remaining sequences and abnormal conditions added

Code – import at least one motor and one valve AOI and reference these AOIs at least once in the ladder logic, import the sequence-associated UDTs and AOIs, and fixup/import 4 sequences from libraries. All transitions are spare steps. Also have the simulation routine and the simulation for one motor and one valve (the same as the motor and valve coded earlier). If your unit does not have a valve, then do a slide gate or flop gate as appropriate.

Wk 3: Second revision of code and first draft of HMI

50 points

Due: 9/21 (M Sec); 9/23 (TW Sec); 9/24 (Th Sec) 4:30 pm

Deliverables:

Sequences – fix items from last review

Code – fix items from last review; All device control should be added. Remaining sequence routines (other sequences + <unit>_Abnormal, <unit>_Misc  and Communications) added. Program transitions (incl. device commands) for one major sequence, shutdown, and e-shutdown. Any PID loops and FQI's must be programmed. All auto-starts must be AFI'd (which is how they are imported). Program remainder of simulation. Program a few abnormal conditions. <Unit>_Misc routine should at least have the rung that handles maintenance mode. Communications routine can be blank (just a NOP rung).

HMI – at least one motor, at least one valve, all sequence start/indicators, all manual device control buttons, display of unit step number and time remaining in timed steps. Plus animation for each. Shortcut to your unit must be set up. Animation must refer to your unit processor and tags.

Wk 4: First test of unit control

25 points

Due: 9/25 (M Sec); 9/26 (T Sec); 9/27 (W Sec); 9/28 (Th Sec) by end of lab time

Deliverables:

For each of the sequences programmed in week 3, should be able to initiate the sequence from the HMI and watch it progress through the steps, controlling the devices. Any screen elements needed for needed operator input (for example, source/destination selection) must also be present. Also, should be able to manually start/stop (open/close) all devices in the unit from the HMI.

25 points

Due: 9/28 (M Sec); 9/30 (TW Sec); 9/31 (Th Sec) 4:30 pm

Deliverables:

Code – Fix items from last review. All sequence code should be done, including auto-start logic (though they should be AFI'd until all "normal operation" parts of the test plan are passed). All logic dealing with abnormal conditions must be present. Logic for abnormal conditions initiating an auto-start must be present. All logic for sending/receiving information from other units should be present, including MSG blocks and path configuration in the program. However, the MSG blocks should be AFI’d. All logic dealing with HMI should be present and functioning including source/destination selection and any other operator entry.

HMI – Fix items from last review (should be finished with it)

Wk 5: Continued testing of individual units

25 points

Due: 10/2 (M Sec); 10/3 (T Sec); 10/4 (W Sec); 10/5 (Th Sec) by end of lab time

Deliverables:

Must pass all parts of the test plan that do not deal with abnormal conditions and do not deal with other units. Any auto-start that is part of normal operation (for example, initiate shutdown at the end of a sequence) is expected to have its AFI removed so that it is functioning. Disable (AFI) MSG blocks and use simulation testing logic if working with another unit.

Wk 6: Test of individual programs according to test plan

50 points (all or nothing)

Due: 10/9 (M Sec); 10/10 (T Sec); 10/11 (W Sec); 10/12 (Th Sec) by end of lab time

Deliverables:

Must pass all parts of the test plan for unit. Disable MSG blocks and use simulation testing logic if working with another unit.

Wk 7: Test program with other units –

25 points

Due: 10/16 (M Sec); 10/17 (T Sec); 10/18 (W Sec); 10/19 (Th Sec) by end of lab time

Deliverables:

Must pass all parts of the test plan for unit. All communications should be enabled (no AFI’s). The only simulation that should still be present are for the valves, motors, conveyors, and flop gates. ALL simulation used to test the code in the absence of the other units must be removed. ALL simulation logic used to modify FQI must be removed.

Final submission

25 points

Due: Oct. 21 (MT Sec);  Oct 23 (WTh Sec) 4:30 pm

Deliverables:

.xls file -  Cleaned-up sequence diagrams

.acd – program comments fixed up

.apa – backed-up FT View project

ProjectSelf-Evaluation.doc – emailed Critique – NOT HANDWRITTEN

xls, acd, apa files submitted to Canvas. Project self-evaluation email to Instructor

Name of "Unit" to Use in Standard Tag Names

These are the shortened unit names to be used in place of the "unit" part of the standard tag names:

Shortened	Entire Unit Name

RWet_Unl	Rail Wet Ingredient Unload

TWet_Unl	Truck Wet Ingredient Unload

Dry_Add	Dry Additive Makeup

Wet_Add	Dry Additive Makeup

RDry_Unl	Rail Dry Ingredient Unload

TDry_Unl	Truck Dry Ingredient Unload

Dry_StoIn	Dry Ingredient Storage (in sequences) – in Dry_Store project

Dry_StoOt	Dry Ingredient Storage (out sequences) – in Dry_Store project

RPow_Unl	Rail Powder Ingredient Unload

TPow_Unl	Truck Powder Ingredient Unload

Blend	Blend Unit

React_1	Reactor 1 Unit

React_2	Reactor 2 Unit

React_3	Reactor 3 Unit

React_4	Reactor 4 Unit

Ion_Exc_1	Ion Exchanger #1

Ion_Exc_2	Ion Exchanger #2

Ion_Exc_3	Ion Exchanger #3

Ion_Exc_4	Ion Exchanger #4

Ion_Exc_5	Ion Exchanger #5

Ion_Exc_6	Ion Exchanger #6

Stor_Tnk_1	Storage Tank #1 – in Stor_Tnk_LO_1 project

Stor_LO_1	Storage Loadout #1 – in Stor_Tnk_LO_1 project

Stor_Tnk_2	Storage Tank #2 – in Stor_Tnk_LO_2 project

Stor_LO_2	Storage Loadout #2 – in Stor_Tnk_LO_2 project

Stor_Tnk_3	Storage Tank #3 – in Stor_Tnk_LO_3 project

Stor_LO_3	Storage Loadout #3 – in Stor_Tnk_LO_3 project

CIP_1	CIP 1 System

CIP_2	CIP 2 System

QA_Smpl	QA Sampling

Soda_Ash	Soda Ash

File and Project Naming Convention

Use the shortened unit name to construct the names for the sequence files, and project names for Studio 5000 and FT View, where "Unit" is the shortened unit name, listed above.

Name of .xls file containing sequences:

Unit_Sequences_yyyymmdd.xls

Name of Studio 5000 project file:

Unit_yyyymmdd.acd

Name of controller:

Unit

Name of FactoryTalk View application:

Unit

Name of FactoryTalk View backed-up application:

Unit_yyyymmdd.apa

where "Unit" is the shortened unit name, listed above.

Add a date code suffix to the name of the file, in the format "_yyyymmdd" where "yyyy" is the 4-digit year, "mm" is the 2-digit month, and "dd" is the 2-digit day.

A note on the date code. It must represent the date of the last time the file was edited. It is NOT the due date of the assignment, nor the date the file was started.